## Slide 1: PHYS 1444 – Section 002 Lecture #23
Monday, Nov. 25, 2019
Dr. Jaehoon Yu
Chapter 30: Inductance
  LR Circuit
  LC circuit and EM Oscillation
  AC circuit with Inductor Only & Capacitor Only
Chapter 31: Maxwell’s equations
  Expansion of Ampere’s Law
  Gauss’ Law for Magnetism
  Production of EM Waves
  Light as EM Waves

## Slide 2: Announcements
Reading assignments: CH30.7 – 30.11
Planetarium Extra Credit: bring to class Mon. Dec. 2
  Be sure to tape one end of the ticket stub on a sheet of paper with your name on it
Final comprehensive exam
  In class 1:00 – 2:20pm, Wednesday, Dec. 4
  Covers: CH21.1 – what we finish Monday, Dec. 2
  Bring your calculator but DO NOT input formula into it!
    Cell phones or any types of computers cannot replace a calculator!
  BYOF: You may bring a one 8.5x11.5 sheet (front and back) of handwritten formulae and values of constants for the quiz
  No derivations, word definitions, set ups or solutions of any problems!
  NO MAXWELL’s Equations!!
  No additional formulae or values of constants will be provided!
No class this Wednesday, Nov. 27
  Happy Thanksgiving!
Course evaluation survey!!

## Slide 3: LR Circuits
What happens when an emf is applied to an inductor?
  An inductor has some resistance, however negligible
    So an inductor can be drawn as a circuit of separate resistance and coil. What is the name this kind of circuit?
  What happens at the instance the switch is thrown to apply emf to the circuit?
    The current starts to flow, gradually increasing from 0
    This change is opposed by the induced emf in the inductor  the emf at point B is higher than point C
    However there is a voltage drop at the resistance which reduces the voltage across inductance
    Thus the current increases less rapidly
    The overall behavior of the current is a gradual increase, reaching to the maximum current Imax=V0/R.
LR Circuit

## Slide 4: LR Circuits
This can be shown w/ Kirchhoff loop rules
  The emfs in the circuit are the battery voltage V0 and the emf ε=-L(dI/dt) in the inductor opposing the current increase
  The sum of the potential changes through the circuit is
  Where I is the current at any instance
  By rearranging the terms, we obtain the differential eq.
  We can integrate just as in RC circuit
  So the solution is
  Where τ=L/R
    This is the time constant τ of the LR circuit and is the time required for the current I to reach 0.63 of the maximum

## Slide 5: Discharge of LR Circuits
If the switch is flipped away from the battery
  The differential equation becomes
  So the integration is
  Which results in the solution
  The current decays exponentially to zero with the time constant τ=L/R
  So there always is a reaction time when a system with a coil, such as an electromagnet, is turned on or off.
  The current in LR circuit behaves almost the same as that in RC circuit but the time constant is inversely proportional to R in LR circuit unlike the RC circuit

## Slide 6: AC Circuit w/ Resistance only
What do you think will happen when an AC source is connected to a resistor?
From Kirchhoff’s loop rule, we obtain
Thus
  where
What does this mean?
  Current is 0 when voltage is 0 and current is in its peak when voltage is in its peak.
  Current and voltage are “in phase”
Energy is lost via the transformation into heat at an average rate

## Slide 7: AC Circuit w/ Inductance only
From Kirchhoff’s loop rule, we obtain
Thus
  Using the identity
  where
What does this mean?
  Current and voltage are “out of phase by π/2 or 90o”. In other words the current reaches its peak ¼ cycle after the voltage
What happens to the energy?
  No energy is dissipated
  The average power is 0 at all times
  The energy is stored temporarily in the magnetic field
  Then released back to the source

## Slide 8: AC Circuit w/ Inductance only
How are the resistor and inductor different in terms of energy?
  Inductor
  Resistor
How are they similar?
  They both impede the flow of charge
  For a resistance R, the peak voltage and current are related to
  Similarly, for an inductor we may write
    Where XL is the inductive reactance of the inductor
    What do you think is the unit of the reactance?
    The relationship is not valid at a particular instance. Why not?
      Since V0 and I0 do not occur at the same time
Stores the energy temporarily in the magnetic field and then releases it back to the emf source
Does not store energy but transforms it to thermal energy, losing it to the environment
Ω
is valid!
0 when ω=0.

## Slide 9: Example 30 – 9
Reactance of a coil. A coil has a resistance R=1.00Ω and an inductance of 0.300H. Determine the current in the coil if (a) 120 V DC is applied to it; (b) 120 V AC (rms) at 60.0Hz is applied.
Is there a reactance for DC?
So for DC power, the current is from Kirchhoff’s rule
For an AC power with f =60Hz, the reactance is
Nope. Why not?
Since ω=0,
Since the resistance can be ignored compared to the reactance, the rms current is

## Slide 10: AC Circuit w/ Capacitance only
What happens when a capacitor is connected to a DC power source?
  The capacitor quickly charges up.
  There is no steady current flow in the circuit
    Since the capacitor prevents the flow of the DC current
What do you think will happen if it is connected to an AC power source?
  The current flows continuously. Why?
  When the AC power turns on, charge begins to flow one direction, charging up the plates
  When the direction of the power reverses, the charge flows in the opposite direction

## Slide 11: AC Circuit w/ Capacitance only
From Kirchhoff’s loop rule, we obtain
The current at any instance is
The charge Q on the plate at any instance is
Thus the voltage across the capacitor is
  Using the identity
  Where

## Slide 12: AC Circuit w/ Capacitance only
So the voltage is
What does this mean?
  Current and voltage are “out of phase by π/2 or 90o” but in this case, the voltage reaches its peak ¼ cycle after the current
What happens to the energy?
  No energy is dissipated
  The average power is 0 at all times
  The energy is stored temporarily in the electric field
  Then released back to the source
Applied voltage and the current in the capacitor can be written as
  Where the capacitive reactance XC is defined as
  Again, this relationship is only valid for rms quantities
Infinite when ω=0.

## Slide 13: Example 30 – 10
Capacitor reactance. What are the peak and rms current in the circuit in the figure if C=1.0μF and Vrms=120V? Calculate for (a) f=60Hz, and then for (b) f=6.0x105Hz.
The peak voltage is
The capacitance reactance is
Thus the peak current is
The rms current is